## RWH System Sizing
RWH System Sizing Calculator - TWDB |  | Example 1: Storage Starting at 1,000 gallons; 10,000 Gallons Available Storage and using Average Rainfall (Dallas)
Raw Data (Change to fit your conditions) |  |  | Indoor demand | Irrigation | Total demand | Average rainfall | Collection surface size | Gallons/ft2 collection coefficient | Efficiency factor | Rainfall collected (85% efficiency) |  | End of month storage (starting with water in storage)
Catchment Area (sq. ft.) | 4000 | January | 3000 | 0 | 3000 | 1.97 | 4000 | 0.62 | 0.85 | 4152.76 | 2152.76 | 2152.76
Monthly Indoor Demand (gals) | 3000 | February | 3000 | 0 | 3000 | 2.4 | 4000 | 0.62 | 0.85 | 5059.2 | 4211.96 | 4211.96
Outdoor Demand (gals) | 150 | March | 3000 | 150 | 3150 | 2.91 | 4000 | 0.62 | 0.85 | 6134.28 | 7196.24 | 7196.24
Water in Storage to Begin (gal) | 1000 | April | 3000 | 150 | 3150 | 3.81 | 4000 | 0.62 | 0.85 | 8031.48 | 12077.72 | 10000
Tank Size (gal) | 10000 | May | 3000 | 150 | 3150 | 5.01 | 4000 | 0.62 | 0.85 | 10561.08 | 19488.8 | 10000
|  | June | 3000 | 150 | 3150 | 3.12 | 4000 | 0.62 | 0.85 | 6576.96 | 22915.76 | 10000
|  | July | 3000 | 150 | 3150 | 2.04 | 4000 | 0.62 | 0.85 | 4300.32 | 24066.08 | 10000
|  | August | 3000 | 150 | 3150 | 2.07 | 4000 | 0.62 | 0.85 | 4363.56 | 25279.64 | 10000
|  | September | 3000 | 150 | 3150 | 2.67 | 4000 | 0.62 | 0.85 | 5628.36 | 27758 | 10000
|  | October | 3000 | 150 | 3150 | 3.76 | 4000 | 0.62 | 0.85 | 7926.08 | 32534.08 | 10000
|  | November | 3000 | 0 | 3000 | 2.7 | 4000 | 0.62 | 0.85 | 5691.6 | 35225.68 | 10000
|  | December | 3000 | 0 | 3000 | 2.64 | 4000 | 0.62 | 0.85 | 5565.12 | 37790.8 | 10000
Example 2: Storage Starting at 1,000 gallons; 10,000 Gallons Available Storage and using Median Rainfall (Dallas)
|  |  | Indoor demand | Irrigation | Total demand | Median rainfall | Collection surface size | Gallons/ft2 collection coefficient | Efficiency factor | Rainfall collected (85% efficiency) |  | End of month storage (starting with water in storage)
|  | January | 3000 | 0 | 3000 | 1.8 | 4000 | 0.62 | 0.85 | 3794.4 | 1794.4 | 1794.4
|  | February | 3000 | 0 | 3000 | 2.11 | 4000 | 0.62 | 0.85 | 4447.88 | 3242.28 | 3242.28
|  | March | 3000 | 150 | 3150 | 2.36 | 4000 | 0.62 | 0.85 | 4974.88 | 5067.16 | 5067.16
|  | April | 3000 | 150 | 3150 | 2.98 | 4000 | 0.62 | 0.85 | 6281.84 | 8199 | 8199
|  | May | 3000 | 150 | 3150 | 4.27 | 4000 | 0.62 | 0.85 | 9001.16 | 14050.16 | 10000
|  | June | 3000 | 150 | 3150 | 2.85 | 4000 | 0.62 | 0.85 | 6007.8 | 16907.96 | 10000
|  | July | 3000 | 150 | 3150 | 1.6 | 4000 | 0.62 | 0.85 | 3372.8 | 17130.76 | 10000
|  | August | 3000 | 150 | 3150 | 1.74 | 4000 | 0.62 | 0.85 | 3667.92 | 17648.68 | 10000
|  | September | 3000 | 150 | 3150 | 2.5 | 4000 | 0.62 | 0.85 | 5270 | 19768.68 | 10000
|  | October | 3000 | 150 | 3150 | 2.94 | 4000 | 0.62 | 0.85 | 6197.52 | 22816.2 | 10000
|  | November | 3000 | 0 | 3000 | 2 | 4000 | 0.62 | 0.85 | 4216 | 24032.2 | 10000
|  | December | 3000 | 0 | 3000 | 2.1 | 4000 | 0.62 | 0.85 | 4426.8 | 25459 | 10000
Outdoor demand is based upon a small low-water use landscape with minimal handheld irrigation; persons intending to irrigate larger areas or a vegetable garden, will need a larger catchment area and larger storage capacity to accommodate both indoor demand and outdoor irrigation in larger quantities.
Please note that in the Average Rainfall scenario, the water in storage may eventually exceed the capacity of the cistern, which puts an effective limit on the end-of-month storage amount.
This calculator is provided for general guidance only. Design and installation of RWH facilities should be based on site-specific conditions and technical expertise.

## Irrigation Demand Estimates
Example One: Storage Starting at 0 gallons; 12,000 Gallons Available Storage and Average Rainfall (Dallas)
Raw Data (Change to fit your circumstances) |  |  | Square feet of irrigated area |  | Irrigation factor* | Irrigation Demand | Average rainfall | Collection surface size | Gallons/ft2 collection coefficient | Efficiency factor | Rainfall collected (85% efficiency) |  | End of month storage (starting with 0 gallons in storage) | PET*.6
Catchment Area (sq. ft.) | 2500 | January | 4000 | 0 | 0 | 0 | 1.97 | 2500 | 0.62 | 0.85 | 2595.475 | 2595.475 | 2595.475 | 1.0251
Irrigated Area (sq. ft.) | 4000 | February | 4000 | 0 | 0 | 0 | 2.4 | 2500 | 0.62 | 0.85 | 3162 | 5757.475 | 5757.475 | 1.3686
Tank Size (gals) | 12000 | March | 4000 | -0.41589 | 0 | 0 | 2.91 | 2500 | 0.62 | 0.85 | 3833.925 | 9591.4 | 9591.4 | 2.4941
|  | April | 4000 | -0.73326 | 0 | 0 | 3.81 | 2500 | 0.62 | 0.85 | 5019.675 | 14611.075 | 12000 | 3.0767
|  | May | 4000 | -0.444 | 0 | 0 | 5.01 | 2500 | 0.62 | 0.85 | 6600.675 | 18600.675 | 12000 | 4.566
|  | June | 4000 | 1.8704 | 1.8704 | 4638.6442 | 3.12 | 2500 | 0.62 | 0.85 | 4110.6 | 11471.9558 | 11471.9558 | 4.9904
|  | July | 4000 | 2.9081 | 2.9081 | 7212.1011 | 2.04 | 2500 | 0.62 | 0.85 | 2687.7 | 6947.5547 | 6947.5547 | 4.9481
|  | August | 4000 | 2.6848 | 2.6848 | 6658.4084 | 2.07 | 2500 | 0.62 | 0.85 | 2727.225 | 3016.3713 | 3016.3713 | 4.7548
|  | September | 4000 | 1.2407 | 1.2407 | 3077.0274 | 2.67 | 2500 | 0.62 | 0.85 | 3517.725 | 3457.0689 | 3457.0689 | 3.9107
|  | October | 4000 | -0.74895 | 0 | 0 | 3.76 | 2500 | 0.62 | 0.85 | 4953.8 | 8410.8689 | 8410.8689 | 3.0111
|  | November | 4000 | 0 | 0 | 0 | 2.7 | 2500 | 0.62 | 0.85 | 3557.25 | 11968.1189 | 11968.1189 | 1.7242
|  | December | 4000 | 0 | 0 | 0 | 2.64 | 2500 | 0.62 | 0.85 | 3478.2 | 15446.3189 | 12000 | 0.98084
Example Two: Storage Starting at 0 gallons; 12,000 Gallons Available Storage and Median Rainfall (Dallas)
|  |  | Irrigation annual total |  | Irrigation factor* | Irrigation | Median rainfall | Collection surface size | Gallons/ft2 collection coefficient | Efficiency factor | Rainfall collected (85% efficiency) |  | End of month storage (starting with 0 gallons in storage) | PET*.6
|  | January | 4000 | 0 | 0 | 0 | 1.8 | 2500 | 0.62 | 0.85 | 2371.5 | 2371.5 | 2371.5 | 1.0251
|  | February | 4000 | 0 | 0 | 0 | 2.11 | 2500 | 0.62 | 0.85 | 2779.925 | 5151.425 | 5151.425 | 1.3686
|  | March | 4000 | 0.13411 | 0.13411 | 332.5811 | 2.36 | 2500 | 0.62 | 0.85 | 3109.3 | 7928.1439 | 7928.1439 | 2.4941
|  | April | 4000 | 0.096737 | 0.096737 | 239.9074 | 2.98 | 2500 | 0.62 | 0.85 | 3926.15 | 11614.3866 | 11614.3866 | 3.0767
|  | May | 4000 | 0.296 | 0.296 | 734.08 | 4.27 | 2500 | 0.62 | 0.85 | 5625.725 | 16506.0316 | 12000 | 4.566
|  | June | 4000 | 2.1404 | 2.1404 | 5308.2442 | 2.85 | 2500 | 0.62 | 0.85 | 3754.875 | 10446.6308 | 10446.6308 | 4.9904
|  | July | 4000 | 3.3481 | 3.3481 | 8303.3011 | 1.6 | 2500 | 0.62 | 0.85 | 2108 | 4251.3297 | 4251.3297 | 4.9481
|  | August | 4000 | 3.0148 | 3.0148 | 7476.8084 | 1.74 | 2500 | 0.62 | 0.85 | 2292.45 | -933.0287 | 0 | 4.7548
|  | September | 4000 | 1.4107 | 1.4107 | 3498.6274 | 2.5 | 2500 | 0.62 | 0.85 | 3293.75 | -204.8774 | 0 | 3.9107
|  | October | 4000 | 0.071053 | 0.071053 | 176.2105 | 2.94 | 2500 | 0.62 | 0.85 | 3873.45 | 3697.2395 | 3697.2395 | 3.0111
|  | November | 4000 | 0 | 0 | 0 | 2 | 2500 | 0.62 | 0.85 | 2635 | 6332.2395 | 6332.2395 | 1.7242
|  | December | 4000 | 0 | 0 | 0 | 2.1 | 2500 | 0.62 | 0.85 | 2766.75 | 9098.9895 | 9098.9895 | 0.98084
Please note that in the median rainfall scenario illustrated, the water in storage may eventually exceed the capacity of the cistern, which puts an effective limit on the end-of-month storage amount.
* Irrigation Factor is cacluated by multiplying average historical potential evapotranspiration by 0.6 (a turf coefficient for warm season turfgrasses) and subtracting rainfall from the result.
Data can be found at http://texaset.tamu.edu/. As an alternative one can use historic data specific to one's own community. A limited dataset is availalble at the TAMU site.
This table is for general guidance only. Site-specific irrigation demands may also be calculated by other methods, or as recommended by local water management professionals.