## System Sizing Calculator
Rainwater Harvesting System Sizing Calculator | [14 empty] | Version 2.0
Today's date: Jul. 28, 2026
INPUTS:
Enter values in the gray-colored cells below corresponding to the question in the box immediately to the right of each cell:
3 | Enter the number from the following list that corresponds to the city that is closest to your rainwater collection site: 1] Abilene, 2] Amarillo, 3] Austin, 4] Brownsville, 5] College Station, 6] Corpus Christi, 7] Dallas/Fort Worth, 8] Del Rio, 9] El Paso, 10] Galveston, 11] Houston, 12] Lubbock, 13] Midland, 14] Port Arthur, 15] San Angelo, 16] San Antonio, 17] Victoria, 18] Waco, 19] Wichita Falls.
16 | Enter the length of the collection area (feet).
20 | Enter the width of the collection area (feet).
If you have a complex collection area, you may calculate the total area yourself and enter it here (square feet). Otherwise, leave this cell blank.
1 | Enter the number from the following list that corresponds to the primary type of material used for the surface of the rainwater collection area: 1] Metal or glass; 2] EPDM rubber membrane; 3] Asphalt shingle; 4] Tar and gravel; 5] Cement tile; 6] Clay tile; 7] Green/living roof.
200 | Enter the capacity of the storage tank (gallons).
4 | Enter the length of the irrigation area (feet).
50 | Enter the width of the irrigation area (feet).
If you have a complex irrigation area consisting of multiple plots, you may calculate the total area yourself and enter it here (square feet). Otherwise, leave this cell blank.
3 | Enter the number from the following list that best represents the type of plants grown in the irrigated area and the average water use: 1] Very Low - (e.g. Agave, Yucca, Palo Verde, Cactus, Desert Willow, Bulbine, Gayfeather, Texas Mountain Laurel, Agarita, Flame Acanthus, Blackfoot Daisy); 2] Low - (e.g. Mesquite, Lantana, Buckeye, Rosemary, Western Redbud, most Oaks, Cypress, Sages, Acacia, Gaura, Lavender, Mexican Feathergrass, Muhly grass, Buffalo grass); 3] Medium - (e.g. Crape/Wax Myrtle, Roses, most wildflowers, most fruit and nut trees, Hollies, Jasmine, Bermuda grass, Centipede grass, Papsalum grass, St. Augustine grass, Zoysia grass); 4] High - (e.g. Birch, Maple, Dogwood, Cottonwood, Poplar, Azalea, Rhododendron, Ferns, Hydrangea, Fescue grass, Rye grass); or 5] Very High - (e.g. most garden vegetables).
2 | Do you plan to irrigate during the months of November through February? Enter 1 for "Yes" or 2 for "No."
0 | Enter the volume, if any, of estimated monthly INDOOR water demand (gallons). [Typical indoor water usage for a single-family residence is about 2,100 gallons per person per month]
12 | What is the first full month the system will be put into service? Enter the number from 1-12 that corresponds to the correct calendar month.
0 | Do you plan to add any supplementary water to your storage tank prior to putting the system into service? If so, enter that volume (gallons). NOTE: This input field would most likely be used when the system will be utilized for year-round irrigation or to meet indoor water needs, and it needs a jump-start prior to placing a demand on it the first month. This input field can also be used to run a simulation for multiple years. In order to do this, print the simulation after completing your inputs for the first year. If the volume left in storage for the final month (Cell_O45) is greater than zero, enter that value. If the final storage value is less than zero, enter zero. It is possible that the simulation will not change from one year to the next.
Based on your inputs above, the following preliminary determinations have been made:
A 'simple' collection area will be used based on the supplied length and width (square feet) = | [6 empty] | 320
Runoff coefficient based on a 'Metal or glass' collection surface = | [6 empty] | 0.95
Plant Water Use coefficient based on 'Medium' water use plants = | [6 empty] | 0.6
A 'simple' irrigation area will be used based on the supplied length and width (square feet) = | [6 empty] | 200
*You do NOT plan to irrigate during the months of November-February
RESULTS:
Calculations completed for Austin, TX
| SUPPLY |  |  |  |  | DEMAND | [6 empty] | STORAGE
Month | Average monthly rainfall (in.) | Average monthly rainfall (gal. per sq.ft.) | Potential volume of water from collection area (gal.) | Estimated monthly supply to collection tank (gal.) | Comment | Average monthly evapotrans- piration (in.) | Average plant water needs (in.) | Average plant water needs (gal. per sq.ft.) | Monthly outdoor demand (gal.) | Potential volume of water from rainfall directly on irrigated area (gal.) | Monthly indoor demand (gal.) | Total monthly demand (gal.) | Estimated volume of rainwater used for month (gal.) | Estimated volume of water left in tank (or deficit) at end of month (gal.) | Comment
December | 2.53 | 1.5686 | 501.952 | 477 | Supply > tank capacity. | 2.21 | 1.326 | 0.82212 | 0 | 314 | 0 | 0 | 0 | 200
January | 2.21 | 1.3702 | 438.464 | 417 | Supply > tank capacity. | 2.27 | 1.362 | 0.84444 | 0 | 274 | 0 | 0 | 0 | 200
February | 2.02 | 1.2524 | 400.768 | 381 | Supply > tank capacity. | 2.72 | 1.632 | 1.0118 | 0 | 250 | 0 | 0 | 0 | 200
March | 2.36 | 1.4632 | 468.224 | 445 | Supply > tank capacity. | 4.34 | 2.604 | 1.6145 | 323 | 293 | 0 | 30 | 30 | 170
April | 2.63 | 1.6306 | 521.792 | 496 | Supply > tank capacity. | 5.27 | 3.162 | 1.9604 | 392 | 326 | 0 | 66 | 66 | 134
May | 5.12 | 3.1744 | 1015.808 | 965 | Supply > tank capacity. | 6.39 | 3.834 | 2.3771 | 475 | 635 | 0 | 0 | 0 | 200
June | 3.42 | 2.1204 | 678.528 | 645 | Supply > tank capacity. | 7.15 | 4.29 | 2.6598 | 532 | 424 | 0 | 108 | 108 | 92
July | 2.03 | 1.2586 | 402.752 | 383 | Supply > tank capacity. | 7.22 | 4.332 | 2.6858 | 537 | 252 | 0 | 285 | 200 | -85 | Demand > supply.
August | 2.51 | 1.5562 | 497.984 | 473 | Supply > tank capacity. | 7.25 | 4.35 | 2.697 | 539 | 311 | 0 | 228 | 200 | -28 | Demand > supply.
September | 2.88 | 1.7856 | 571.392 | 543 | Supply > tank capacity. | 5.57 | 3.342 | 2.072 | 414 | 357 | 0 | 57 | 57 | 143
October | 3.99 | 2.4738 | 791.616 | 752 | Supply > tank capacity. | 4.38 | 2.628 | 1.6294 | 326 | 495 | 0 | 0 | 0 | 200
November | 3.02 | 1.8724 | 599.168 | 569 | Supply > tank capacity. | 2.74 | 1.644 | 1.0193 | 0 | 374 | 0 | 0 | 0 | 200
Annual | 34.72 |  |  | 6546 |  | 57.51 | 34.506 |  |  |  |  | 774 | 661
ADDITIONAL RESOURCES:
First-Flush Diversion:
2 | First-Flush Diversion is a technique used in rainwater harvesting to minimize the amount of contaminants entering the collection tank. The “first-flush” of water coming off a collection area during a storm event may contain debris (e.g. leaves, bird droppings, dust, etc.) that was deposited since the last storm. We recommend diverting the first 1 to 2 gallons of rainwater per 100 square feet of collection area. Enter a value closer to 1 if the impact to the collection area from contaminants is low. Enter a value closer to 2 if the impact to the collection area from contaminants is high.
| Recommended volume of water to divert per storm event (gallons) = |  |  |  |  | 6.4
| Length of 4" diameter pipe needed to hold that volume (feet) = |  |  |  |  | 9.8033 |  | Refer to "The Texas Manual on Rainwater Harvesting, Third Edition" for additional information on first-flush diversion. The document can be downloaded from the TWDB website at:
| Length of 6" diameter pipe needed to hold that volume (feet) = |  |  |  |  | 4.357
| Length of 8" diameter pipe needed to hold that volume (feet) = |  |  |  |  | 2.4508 |  | www.twdb.state.tx.us/publications/reports/RainwaterHarvestingManual_3rdedition.pdf
**The first-flush volume is NOT incorporated into the "Storage" calculations above.
How much rainwater did that last storm potentially add to my collection tank?
1.25 | If you have a rain gauge located at your collection site, enter the amount of precipitation received (inches).
That amount of rainfall added approximately 236 gallons to your collection tank (not considering any first-flush diversion or the tank capacity).
How much money am I potentially saving by using rainwater instead of municipal water?
2.78 | If you are using rainwater to offset your municipal water needs, enter the service rate you pay per 1,000 gallons of metered municipal water ($/1,000 gallons). [The '$' is added automatically to the input cell] [For additional information on rate tiers, place the mouse cursor on this question]
1 | Does your water utility perform "Wastewater Averaging" during the winter months? Enter 1 for "Yes" or 2 for "No." [For additional information on "Wastewater Averaging," place the mouse cursor on this question]
0 | You will not realize any savings on your wastewater charges from using rainwater since your utility uses Wastewater Averaging and you do not plan to irrigate in winter. Enter zero.
Based on using 661 gallons of rainwater, the cost savings would be approximately $1.84 in one year.
Disclaimer: The information in this file is provided as a public service, and should be used for estimation purposes only. The average monthly precipitation values used in the calculations are an historical snapshot of the most recent 30-year period of available data. It does not a guarantee that this amount of precipitation will occur in any given month for the stated location.
Note on B17: Source: http://www.twdb.state.tx.us/assistance/conservation/Documents/ConservingWaterIndoors.pdf
Note on B33: From the look-up table in Cells A1-N20 of the Data tab.
Note on B67: For estimation purposes, select the highest rate tier you are typically charged on your monthly municipal water bill. If your monthly consumption of municipal water is near the bottom of a rate tier, you may also wish to run the simulation using the rate for the next lower tier and compare the results. You can refer to the estimated monthly volume of rainwater used (Cells N34 to N45) to determine if the amount of rainwater used would drop you to a lower municipal water rate tier.
Note on B68: Some utilities perform what is often referred to as Wastewater Averaging in order to better estimate the volume of wastewater that a connection generates when there is only a meter on the water supply side. This calculation is done during the late fall and winter when outdoor water use is minimal, and the metered water use is typically more reflective of the volume of wastewater generated. The procedure develops a charge cap that is applied to the wastewater portion of the bill for the upcoming year.
Note on C33: Value in Column B multiplied by the conversion factor of 0.62.
Note on D33: Value in Column C multiplied by the size of the collection area shown in Cell H22.
Note on E33: Value in Column D multiplied by the Runoff Coefficient shown in Cell H23.
Note on F33: If the "Supply is greater than (>) the tank capacity," you may want to consider increasing the storage capacity of your rainwater harvesting system to better utilize the resource.
Note on G33: From the look-up table in Cells P1-AC20 of the Data tab.
Note on G54: You may wish to divert a higher volume of rainwater if the time between rain events is long, the collection surface is rough, the slope of the collection area is flat, or the intensity of the average rain event is low.
Note on H23: The Runoff Coefficient is the percentage of the total precipitation that falls on a collection area and runs off the surface to potentially be collected. Surfaces that are smooth and non-porous generally have a higher percentage of runoff. These values are approximations and are based on the typical construction method of the roof type. It does not account for wind, evaporation, etc., and assumes that the gutter system is properly installed and maintained. The value is unitless and is from the look-up table in the Data tab of this spreadsheet.
Note on H24: The Plant Water Use Coefficient is the percentage of the evapotranspiration (ETo) that a given type of plant needs for growth and/or healthy appearance. The value may also be referred to as the crop coefficient, plant factor, or landscape coefficient, and is typically in the range from 0.1 (low) to 1.2 (high). Drought-tolerant, native plants are in the lower end of this range, and plants like cool-season turf grasses and garden vegetables are at the higher end of the range. The value is unitless and is from the look-up table in the Data tab of this spreadsheet.
Note on H33: Value in Column G multiplied by the Plant Water Use Coefficient shown in Cell H24.
Note on I33: Value in Column H multiplied by the conversion factor of 0.62.
Note on J33: Value in Column I multiplied by the size of the irrigation area shown in Cell H25. November through February will be zero if you elected not to irrigate during this time.
Note on K33: Technically, this is a SUPPLY, but it is placed next to the outdoor demand so the user can better visualize the relationship. It is the rainfall value in Column C multiplied by the size of the irrigation area shown in Cell H25. The assumption is made that any rain falling directly on the irrigated area is absorbed into the soil and utilized by the plants, with no water lost to runoff or evaporation.
Note on L33: Value from Cell A17.
Note on M33: Value in Column J, minus the value in Column K, plus the value in Column L (J - K + L). If the rainfall on the irrigated area (Col. K) is greater than the outdoor demand (Col. J), then the assumption is made that no irrigation is needed for the month and the Total Monthly Demand is equal to the Monthly Indoor Demand (if any).
Note on N33: The calculation makes the assumption that the supply arrives prior to the demand for the month. If the tank is already full from the previous month, the new supply volume would be lost to overflow.
Note on O33: If the "Demand is greater than (>) the supply," you may want to consider decreasing the size of the irrigation area, choosing plants that use less water, increasing the size of the collection area, or adding storage capacity. The calculation makes the assumption that the supply arrives prior to the demand for the month. If the tank is already full from the previous month, the new supply volume would be lost to overflow.

## Data
Num | City | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec | Annual | Num | City | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
1 | Abilene | 0.97 | 1.13 | 1.41 | 1.67 | 2.83 | 3.06 | 1.69 | 2.63 | 2.91 | 2.9 | 1.3 | 1.27 | 23.77 | 1 | Abilene | 2.08 | 2.57 | 4.14 | 5.48 | 6.47 | 7.65 | 8.36 | 7.46 | 5.48 | 4.21 | 2.67 | 2.08 | 58.65
2 | Amarillo | 0.63 | 0.55 | 1.13 | 1.33 | 2.5 | 3.28 | 2.68 | 2.94 | 1.88 | 1.5 | 0.68 | 0.61 | 19.71 | 2 | Amarillo | 1.84 | 2.27 | 3.73 | 5.06 | 5.89 | 7.51 | 8.08 | 7.29 | 5.61 | 4.05 | 2.4 | 1.78 | 55.51
3 | Austin | 2.21 | 2.02 | 2.36 | 2.63 | 5.12 | 3.42 | 2.03 | 2.51 | 2.88 | 3.99 | 3.02 | 2.53 | 34.72 | 3 | Austin | 2.27 | 2.72 | 4.34 | 5.27 | 6.39 | 7.15 | 7.22 | 7.25 | 5.57 | 4.38 | 2.74 | 2.21 | 57.51
4 | Brownsville | 1.36 | 1.18 | 0.93 | 1.96 | 2.48 | 2.93 | 1.77 | 2.99 | 5.31 | 3.78 | 1.75 | 1.11 | 27.55 | 4 | Brownsville | 2.65 | 3.03 | 4.48 | 5.17 | 6.03 | 6.32 | 6.68 | 6.65 | 5.21 | 4.34 | 3.01 | 2.59 | 56.16
5 | College Station | 3.32 | 2.38 | 2.84 | 3.2 | 5.05 | 3.79 | 1.92 | 2.63 | 3.91 | 4.22 | 3.18 | 3.23 | 39.67 | 5 | College Station | 2.2 | 2.71 | 4.22 | 5.2 | 6.25 | 6.89 | 7.1 | 6.85 | 5.6 | 4.3 | 2.8 | 2.2 | 56.32
6 | Corpus Christi | 1.62 | 1.84 | 1.74 | 2.05 | 3.48 | 3.53 | 2 | 3.54 | 5.03 | 3.94 | 1.74 | 1.75 | 32.26 | 6 | Corpus Christi | 2.42 | 2.95 | 4.28 | 5.17 | 5.95 | 6.43 | 6.68 | 6.65 | 5.21 | 4.34 | 3.01 | 2.59 | 55.68
7 | Dallas/Fort Worth | 1.9 | 2.37 | 3.06 | 3.2 | 5.15 | 3.23 | 2.12 | 2.03 | 2.42 | 4.11 | 2.57 | 2.57 | 34.73 | 7 | Dallas/Ft. Worth | 2 | 2.46 | 3.96 | 5.14 | 6.21 | 7.06 | 7.4 | 7.25 | 5.49 | 4.19 | 2.59 | 2.1 | 55.85
8 | Del Rio | 0.57 | 0.96 | 0.96 | 1.71 | 2.31 | 2.34 | 2.02 | 2.16 | 2.06 | 2 | 0.96 | 0.75 | 18.8 | 8 | Del Rio | 2.47 | 3.01 | 4.76 | 6.01 | 6.98 | 7.41 | 7.57 | 7.41 | 5.77 | 4.35 | 2.91 | 2.36 | 61.01
9 | El Paso | 0.45 | 0.39 | 0.26 | 0.23 | 0.38 | 0.87 | 1.49 | 1.75 | 1.61 | 0.81 | 0.42 | 0.77 | 9.43 | 9 | El Paso | 2.74 | 3.53 | 6.07 | 8.19 | 9.83 | 11.12 | 9.19 | 8.94 | 7.69 | 5.89 | 3.58 | 2.49 | 79.26
10 | Galveston | 4.08 | 2.61 | 2.76 | 2.56 | 3.7 | 4.04 | 3.45 | 4.22 | 5.76 | 3.49 | 3.64 | 3.53 | 43.84 | 10 | Galveston | 2.2 | 2.6 | 4.1 | 5 | 6.11 | 6.6 | 6.2 | 6 | 5.5 | 4.2 | 2.8 | 2.3 | 53.61
11 | Houston | 3.68 | 2.98 | 3.36 | 3.6 | 5.15 | 5.35 | 3.18 | 3.83 | 4.33 | 4.5 | 4.19 | 3.69 | 47.84 | 11 | Houston | 2.36 | 2.83 | 4.32 | 5.01 | 6.11 | 6.57 | 6.52 | 6.08 | 5.57 | 4.28 | 2.9 | 2.35 | 54.9
12 | Lubbock | 0.5 | 0.71 | 0.76 | 1.29 | 2.31 | 2.98 | 2.13 | 2.35 | 2.57 | 1.7 | 0.71 | 0.67 | 18.68 | 12 | Lubbock | 2.35 | 2.63 | 4.41 | 5.53 | 6.93 | 7.73 | 7.63 | 7.2 | 5.54 | 4.19 | 2.61 | 2.33 | 59.08
13 | Midland | 0.53 | 0.58 | 0.42 | 0.73 | 1.79 | 1.71 | 1.89 | 1.77 | 2.31 | 1.77 | 0.65 | 0.65 | 14.8 | 13 | Midland | 2.2 | 2.78 | 4.46 | 5.91 | 7.21 | 8.2 | 9.23 | 8.62 | 6.95 | 4.31 | 2.78 | 2.16 | 64.81
14 | Port Arthur | 5.69 | 3.35 | 3.75 | 3.84 | 5.83 | 6.58 | 5.23 | 4.85 | 6.1 | 4.67 | 4.75 | 5.25 | 59.89 | 14 | Port Arthur | 2.25 | 2.63 | 3.95 | 5.09 | 6.12 | 6.6 | 5.81 | 5.61 | 5.46 | 4.18 | 2.76 | 2.23 | 52.69
15 | San Angelo | 0.81 | 1.18 | 0.99 | 1.6 | 3.09 | 2.52 | 1.1 | 2.05 | 2.95 | 2.57 | 1.1 | 0.94 | 20.9 | 15 | San Angelo | 2.88 | 3.13 | 5.31 | 7.01 | 8.48 | 9.16 | 9.29 | 8.49 | 6.6 | 5.08 | 3.37 | 2.54 | 71.34
16 | San Antonio | 1.66 | 1.75 | 1.89 | 2.6 | 4.72 | 4.3 | 2.03 | 2.57 | 3 | 3.86 | 2.58 | 1.96 | 32.92 | 16 | San Antonio | 2.42 | 2.9 | 4.42 | 5.47 | 6.47 | 6.97 | 7.31 | 6.99 | 5.64 | 4.44 | 2.85 | 2.36 | 58.24
17 | Victoria | 2.44 | 2.04 | 2.25 | 2.97 | 5.12 | 4.96 | 2.9 | 3.05 | 5 | 4.26 | 2.64 | 2.47 | 40.1 | 17 | Victoria | 2.35 | 2.87 | 4.29 | 5.77 | 6.39 | 6.7 | 6.92 | 6.7 | 5.36 | 4.41 | 2.93 | 2.33 | 57.02
18 | Waco | 1.9 | 2.43 | 2.48 | 2.99 | 4.46 | 3.08 | 2.23 | 1.85 | 2.88 | 3.67 | 2.61 | 2.76 | 33.34 | 18 | Waco | 2.13 | 2.62 | 4.03 | 5.31 | 6.45 | 7.15 | 7.4 | 7.5 | 5.7 | 4.41 | 2.7 | 2.17 | 53.16
19 | Wichita Falls | 1.12 | 1.57 | 2.27 | 2.62 | 3.92 | 3.69 | 1.58 | 2.38 | 3.19 | 3.11 | 1.68 | 1.68 | 28.81 | 19 | Wichita Falls | 1.94 | 2.46 | 4.07 | 5.5 | 6.7 | 7.54 | 7.97 | 7.72 | 5.79 | 4.3 | 2.62 | 1.95 | 58.56
|  | Jan: Precipitation (inches) |  |  |  | Evapotranspiration (inches)
|  | Feb: Data is from:; Mar: http://cdo.ncdc.noaa.gov/climatenormals/clim81/TXnorm.pdf; Nov: 1971-2000 (rel. 02/2002) |  |  |  |  | Data is from: | http://texaset.tamu.edu/pet.php | [7 empty] | (7/23/2010)
No | Substrate | Jan: Coeff; Mar: Source
1 | Metal or glass | Jan: 0.95; Mar: Data is from:; Apr: www.ose.state.nm.us/water-info/conservation/pdf-manuals/Roof-Reliant-Landscaping/RRL-Chapter-7.pdf
2 | EPDM rubber membrane | Jan: 0.95; Mar: Data is from:; Apr: www.epdmroofs.org/faqs/faq_design.shtml#22
3 | Asphalt shingle | Jan: 0.9; Mar: Data is from:; Apr: www.ose.state.nm.us/water-info/conservation/pdf-manuals/Roof-Reliant-Landscaping/RRL-Chapter-7.pdf
4 | Tar and Gravel | Jan: 0.8; Mar: Data is from:; Apr: www.ose.state.nm.us/water-info/conservation/pdf-manuals/Roof-Reliant-Landscaping/RRL-Chapter-7.pdf
5 | Cement tile | Jan: 0.75; Mar: Data is from:; Apr: www.rainwaterconference.org/uploads/media/Rainwater_Harvesting_-_an_overview_.pdf
6 | Clay tile | Jan: 0.5; Mar: Data is from:; Apr: www.rainwaterconference.org/uploads/media/Rainwater_Harvesting_-_an_overview_.pdf
7 | Green roof | Jan: 0.28; Mar: Data is from:; Apr: Average of all 4 green roof types from: http://tah2.org/think/math/water-runoff
Runoff Coefficient Estimates (unitless), assuming a properly installed and maintained gutter system
No | Level | Jan: Coeff; Mar: Sources:
1 | Very Low | Jan: 0.1; Mar: A Watering Guide for Texas Landscape - Texas Water Development Board and Texas AgriLife, 2010
2 | Low | Jan: 0.3; Mar: Native and Adapted Landscape Plants, an earthwise guide for Central Texas - City of Austin and Texas AgriLife, 2009
3 | Medium | Jan: 0.6; Mar: A Guide to Estimating Irrigation Water Needs of Landscape Plantings in California - The Landscape Coefficient Method and WUCOLS III, August 2000
4 | High | Jan: 0.8; Mar: Crop evapotranspiration - Guidelines for computing crop water requirements - FAO Irrigation and drainage paper 56, 1998
5 | Very High | bar: Jan
Plant Water Use Coefficient (unitless)
Num | Month | Jan: Num
1 | January | bar: Jan
2 | February | Jan: 2
3 | March | Jan: 3
4 | April | Jan: 4
5 | May | Jan: 5
6 | June | Jan: 6
7 | July | Jan: 7
8 | August | Jan: 8
9 | September | Jan: 9
10 | October | Jan: 10
11 | November | Jan: 11
12 | December | Jan: 12
Note on B2: Station No.: 002 Station Name: ABILENE MUNICIPAL AP Latitude: 32 25 N Longitude: 99 41 W Elevation: 1790 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 32.
Note on B3: Station No.: 012 Station Name: AMARILLO INTL AP Latitude: 35 13 N Longitude: 101 42 W Elevation: 3586 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 32.
Note on B4: Station No.: 028 Station Name: AUSTIN-BERGSTROM INTL AP Latitude: 30 11 N Longitude: 97 41 W Elevation: 590 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 32.
Note on B5: Station No.: 074 Station Name: BROWNSVILLE AP Latitude: 25 54 N Longitude: 97 26 W Elevation: 19 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 33.
Note on B6: Station No.: 117 Station Name: COLLEGE STATION ETRWD AP Latitude: 30 35 N Longitude: 96 22 W Elevation: 314 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 33.
Note on B7: Station No.: 129 Station Name: CORPUS CHRISTI INTL AP Latitude: 27 46 N Longitude: 97 31 W Elevation: 41 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 33.
Note on B8: Station No.: 146 Station Name: DALLAS-FT WORTH INTL AP Latitude: 32 54 N Longitude: 97 01 W Elevation: 560 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 34.
Note on B9: Station No.: 154 Station Name: DEL RIO INTL AP Latitude: 29 23 N Longitude: 100 56 W Elevation: 999 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 34.
Note on B10: Station No.: 176 Station Name: EL PASO INTL AP Latitude: 31 49 N Longitude: 106 23 W Elevation: 3918 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 34.
Note on B11: Station No.: 218 Station Name: GALVESTON Latitude: 29 20 N Longitude: 94 47 W Elevation: 10 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 35.
Note on B12: Station No.: 263 Station Name: HOUSTON BUSH INTL AP Latitude: 30 00 N Longitude: 95 22 W Elevation: 95 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 35.
Note on B13: Station No.: 337 Station Name: LUBBOCK RGNL AP Latitude: 33 40 N Longitude: 101 49 W Elevation: 3254 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 36.
Note on B14: Station No.: 368 Station Name: MIDLAND INTL AP Latitude: 31 57 N Longitude: 102 11 W Elevation: 2862 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 37.
Note on B15: Station No.: 445 Station Name: PORT ARTHUR AP BEAUMONT Latitude: 29 57 N Longitude: 94 01 W Elevation: 16 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 38.
Note on B16: Station No.: 491 Station Name: SAN ANGELO MATHIS AP Latitude: 31 21 N Longitude: 100 30 W Elevation: 1916 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 39.
Note on B17: Station No.: 492 Station Name: SAN ANTONIO INTL AP Latitude: 29 32 N Longitude: 98 28 W Elevation: 809 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 39.
Note on B18: Station No.: 568 Station Name: VICTORIA RGNL AP Latitude: 28 52 N Longitude: 96 56 W Elevation: 115 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 40.
Note on B19: Station No.: 571 Station Name: WACO RGNL AP Latitude: 31 37 N Longitude: 97 14 W Elevation: 500 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 40.
Note on B20: Station No.: 588 Station Name: WICHITA FALLS SHEPPRD AP Latitude: 33 59 N Longitude: 98 30 W Elevation: 1030 ft. amsl Source: CLIMATOGRAPHY OF THE UNITED STATES NO. 81, Monthly Normals of Temperature, Precipitation, and Heating and Cooling Degree Days, 1971-2000, Page 40.